## Diff List
Bedrooms.tsv | Ignore |  | 29
Ceiling Fan.tsv | Ignore
Clothes Dryer.tsv | Include | NG Appliance | x
Clothes Washer.tsv | Include | Other Appliance | x
Cooking Range Schedule.tsv | Ignore
Cooking Range.tsv | Include | NG Appliance | x
Cooling Setpoint Offset Magnitude.tsv | Ignore
Cooling Setpoint Offset Period.tsv | Ignore
Cooling Setpoint.tsv | Ignore
Corridor.tsv | Ignore
Days Shifted Clothes Washer.tsv | Ignore
Days Shifted Dishwasher.tsv | Ignore
Dishwasher.tsv | Include | Other Appliance
Ducts.tsv | Ignore
Geometry Building Floors.tsv | Ignore
Geometry Building Number Units HL.tsv | Ignore
Geometry Building Number Units MF.tsv | Ignore
Geometry Building Number Units SFA.tsv | Ignore
Geometry Building Type FPL.tsv | Ignore
Geometry Building Type.tsv | Ignore
Geometry Foundation Type.tsv | Ignore
Geometry Garage.tsv | Ignore
Geometry House Size.tsv | Ignore
Geometry Is Multifamily Low Rise.tsv | Ignore
Geometry Shared Walls MF.tsv | Ignore
Geometry Shared Walls SFA.tsv | Ignore
Geometry Unit Stories MF.tsv | Ignore
Geometry Unit Stories SF.tsv | Ignore
Has Cooling Setpoint Offset.tsv | Ignore
Has Heating Setpoint Offset.tsv | Ignore
Heating Fuel.tsv | Include | Heating | x
Heating Setpoint Offset Magnitude.tsv | Ignore
Heating Setpoint Offset Period.tsv | Ignore
Heating Setpoint.tsv | Ignore
Holiday Lighting.tsv | Ignore
Hot Water Distribution.tsv | Ignore
HVAC System Cooling Type.tsv | Include | Cooling | x
HVAC System Cooling.tsv | Include | Cooling | x
HVAC System Heat Pump.tsv | Include | Heating | x
HVAC System Heating Electricity.tsv | Include | Heating | x
HVAC System Heating Natural Gas.tsv | Include | Heating | x
HVAC System Heating None.tsv | Ignore
HVAC System Heating Other Fuel.tsv | Ignore
HVAC System Heating Propane.tsv | Include | Heating | x
HVAC System Is Heat Pump.tsv | Ignore
HVAC System Is Shared.tsv | Include | Heating | x
HVAC System Shared Electricity.tsv | Include | Heating | x
HVAC System Shared Natural Gas.tsv | Include | Heating | x
HVAC System Shared None.tsv | Include | Heating | x
HVAC System Shared Other Fuel.tsv | Ignore
HVAC System Shared Propane.tsv | Ignore
Infiltration.tsv | Include | Envelope | x
Insulation Crawlspace.tsv | Include | Envelope | x
Insulation Finished Basement.tsv | Include | Envelope | x
Insulation Interzonal Floor.tsv | Include | Envelope | x
Insulation Pier Beam.tsv | Ignore
Insulation Slab.tsv | Ignore
Insulation Unfinished Attic.tsv | Include | Envelope | x
Insulation Unfinished Basement.tsv | Include | Envelope | x
Insulation Wall.tsv | Include | Envelope | x
Lighting Interior Use.tsv | Ignore
Lighting.tsv | Include | Misc | x
Location Region.tsv | Ignore
Location Weather Filename.tsv | Ignore
Location.tsv | Ignore
Misc Extra Refrigerator.tsv | Include | Other Appliance | x
Misc Freezer.tsv | Ignore
Misc Gas Fireplace.tsv | Ignore
Misc Hot Tub Spa.tsv | Ignore
Misc Pool Heater.tsv | Ignore
Misc Pool Pump.tsv | Include | Misc | x
Misc Pool.tsv | Ignore
Plug Loads.tsv | Include | Misc
Refrigerator.tsv | Include | Other Appliance | x
Roof Material.tsv | Ignore
Vintage FPL.tsv | Ignore
Vintage.tsv | Ignore
Water Heater.tsv | Include | Water Heating | X
Windows.tsv | Include | Envelope | X

## Heating
Constructed Heating Technologies | No Heating | ASHP, SEER 10, 6.2 HSPF | ASHP, SEER 13, 7.7 HSPF | ASHP, SEER 14, 8.2 HSPF | ASHP, SEER 26.1, 11.0 HSPF, EnergyStar Most Efficient | MSHP, SEER 33.1, 13.5 HSPF, EnergyStar Most Efficient | Electric Furnace | Electric Baseboard | Fan Coil Heating And Cooling | Boiler Baseboards Heating Only | Boiler Baseboards Heating Only | Gas Boiler, 72% AFUE | Gas Boiler, 76% AFUE | Gas Boiler, 80% AFUE | Gas Furnace, 60% AFUE | Gas Furnace, 76% AFUE | Gas Furnace, 80% AFUE | Gas Furnace, 96% AFUE | Gas Wall/Floor Furnace, 60% AFUE | Gas Wall/Floor Furnace, 68% AFUE | Fan Coil Heating And Cooling | Boiler Baseboards Heating Only | PTAC Heating And Cooling | Propane Boiler, 80% AFUE | Propane Boiler, 76% AFUE | Propane Boiler, 72% AFUE | Propane Furnace, 96% AFUE | Propane Furnace, 92% AFUE | Propane Furnace, 80% AFUE | Propane Furnace, 76% AFUE | Propane Furnace, 60% AFUE | Propane Wall/Floor Furnace, 68% AFUE | Propane Wall/Floor Furnace, 60% AFUE | 
2015 | 13.5% | 0.152% | 0.3272% | 0.2101% | 0% | 0% | 6.349% | 9.276% | 0.3111% | 1.693% | 0.3111% | 0% | 0.077% | 0.8991% | 0.5536% | 4.432% | 18.97% | 6.447% | 7.848% | 13.43% | 0.89% | 13.15% | 0.89% | 0% | 0% | 0% | 0.0117% | 0.0978% | 0.1155% | 0.0009% | 0% | 0.0035% | 0.0015%
2035 | 11.32% | 1.311% | 3.455% | 6.492% | 10.37% | 3.458% | 0% | 0% | 0.4624% | 2.665% | 0.4624% | 0% | 0.0686% | 0.8095% | 0.3941% | 3.137% | 18.02% | 6.548% | 6.159% | 10.83% | 0.6589% | 9.764% | 0.6589% | 0% | 0% | 0% | 0.022% | 0.1795% | 0.2089% | 0.0016% | 0% | 0.0005% | 0.0002%
[9 empty] | Electricity | Electricity | Electricity | [9 empty] | Natural Gas | Natural Gas | Natural Gas
Heating Fuel | Electricity | Natural Gas | None | Other Fuel | Propane
2015 | 18.63% | 67.58% | 13.5% | 0.0559% | 0.2309%
2035 | 31.17% | 57.05% | 11.32% | 0.05525% | 0.4127%
Heat Pump | None | ASHP, SEER 10, 6.2 HSPF | ASHP, SEER 13, 7.7 HSPF | ASHP, SEER 14, 8.2 HSPF | ASHP, SEER 26.1, 11.0 HSPF, EnergyStar Most Efficient | MSHP, SEER 33.1, 13.5 HSPF, EnergyStar Most Efficient
2015 | 99.31% | 0.152% | 0.3272% | 0.2101% | 0% | 0%
2035 | 74.91% | 1.311% | 3.455% | 6.492% | 10.37% | 3.458%
HVAC System Heating Electricity | None | Electric Furnace | Electric Baseboard
2015 | 84.38% | 6.349% | 9.276%
2035 | 100% | 0% | 0%
HVAC System Heating Natural Gas | None | Gas Boiler, 72% AFUE | Gas Boiler, 76% AFUE | Gas Boiler, 80% AFUE | Gas Furnace, 60% AFUE | Gas Furnace, 76% AFUE | Gas Furnace, 80% AFUE | Gas Furnace, 96% AFUE | Gas Wall/Floor Furnace, 60% AFUE | Gas Wall/Floor Furnace, 68% AFUE
2015 | 47.35% | 0% | 0.077% | 0.8991% | 0.5536% | 4.432% | 18.97% | 6.447% | 7.848% | 13.43%
2035 | 54.04% | 0% | 0.0686% | 0.8095% | 0.3941% | 3.137% | 18.02% | 6.548% | 6.159% | 10.83%
HVAC System Heating Propane | None | Propane Boiler, 80% AFUE | Propane Boiler, 76% AFUE | Propane Boiler, 72% AFUE | Propane Furnace, 96% AFUE | Propane Furnace, 92% AFUE | Propane Furnace, 80% AFUE | Propane Furnace, 76% AFUE | Propane Furnace, 60% AFUE | Propane Wall/Floor Furnace, 68% AFUE | Propane Wall/Floor Furnace, 60% AFUE
2015 | 99.77% | 0% | 0% | 0% | 0.0117% | 0.0978% | 0.1155% | 0.0009% | 0% | 0.0035% | 0.0015%
2035 | 99.59% | 0% | 0% | 0% | 0.022% | 0.1795% | 0.2089% | 0.0016% | 0% | 0.0005% | 0.0002%
HVAC System Is Shared | Both Shared | Neither Shared | Only Cooling Shared | Only Heating Shared
2015 | 2.402% | 82.16% | 0.5937% | 14.84% |  |  | 17.24%
2035 | 2.243% | 84.63% | 0.7007% | 12.43% |  |  | 14.67%
HVAC System Shared Electricity
| None | Fan Coil Heating And Cooling | Fan Coil Cooling Only | Boiler Baseboards Heating Only | PTAC Heating And Cooling
2015 | 97.46% | 0.3111% | 0.23% | 1.693% | 0.3111%
2035 | 95.94% | 0.4624% | 0.4718% | 2.665% | 0.4624%
HVAC System Shared Natural Gas | None | Fan Coil Heating And Cooling | Fan Coil Cooling Only | Boiler Baseboards Heating Only | PTAC Heating And Cooling
2015 | 84.93% | 0.89% | 0.1439% | 13.15% | 0.89%
2035 | 88.83% | 0.6589% | 0.0861% | 9.764% | 0.6589%
HVAC System Shared None | None | Fan Coil Heating And Cooling | Fan Coil Cooling Only | Boiler Baseboards Heating Only | PTAC Heating And Cooling
2015 | 0.9978 | 0 | 0.002198 | 0 | 0
2035 | 0.99857 | 0 | 0.001428 | 0 | 0

## Cooling
Constructed Cooling Technologies | None | AC, SEER 8 | AC, SEER 10 | AC, SEER 13 | AC, SEER 15 | AC, SEER 27, EnergyStar Most Efficient | FIXME Room AC, EER 8.5, 20% Conditioned | FIXME Room AC, EER 10.7, 20% Conditioned | ASHP, SEER 10, 6.2 HSPF | ASHP, SEER 13, 7.7 HSPF | ASHP, SEER 14, 8.2 HSPF | Fan Coil Heating And Cooling | Fan Coil Cooling Only | PTAC Heating And Cooling | Fan Coil Heating And Cooling | Fan Coil Cooling Only | PTAC Heating And Cooling | Fan Coil Cooling Only
2015 | 40.93% | 1.348% | 6.517% | 15.95% | 8.036% | 0% | 9.527% | 14.01% | 0.152% | 0.3272% | 0.2101% | 0.3111% | 0.23% | 0.3111% | 0.89% | 0.1439% | 0.89% | 0.2198%
2035 | 17.25% | 0.3337% | 1.752% | 5.783% | 8.972% | 16.75% | 0.9059% | 20.22% | 1.311% | 3.455% | 6.492% | 0.4624% | 0.4718% | 0.4624% | 0.6589% | 0.0861% | 0.6589% | 0.1428%
HVAC System Cooling Type | Central | None | Room
2015 | 32.54% | 43.92% | 23.54%
2035 | 58.68% | 20.19% | 21.13%
HVAC System Cooling | None | AC, SEER 8 | AC, SEER 10 | AC, SEER 13 | AC, SEER 15 | AC, SEER 27, EnergyStar Most Efficient | FIXME Room AC, EER 8.5, 20% Conditioned | FIXME Room AC, EER 10.7, 20% Conditioned
2015 | 44.61% | 1.348% | 6.517% | 15.95% | 8.036% | 0% | 9.527% | 14.01%
2035 | 45.28% | 0.3337% | 1.752% | 5.783% | 8.972% | 16.75% | 0.9059% | 20.22%
Heat Pump | None | ASHP, SEER 10, 6.2 HSPF | ASHP, SEER 13, 7.7 HSPF | ASHP, SEER 14, 8.2 HSPF | ASHP, SEER 26.1, 11.0 HSPF, EnergyStar Most Efficient | MSHP, SEER 33.1, 13.5 HSPF, EnergyStar Most Efficient
2015 | 99.31% | 0.152% | 0.3272% | 0.2101% | 0% | 0%
2035 | 74.91% | 1.311% | 3.455% | 6.492% | 10.37% | 3.458%
HVAC System Is Shared | Both Shared | Neither Shared | Only Cooling Shared | Only Heating Shared
2015 | 2.402% | 82.16% | 0.5937% | 14.84%
2035 | 2.243% | 84.63% | 0.7007% | 12.43%
HVAC System Shared Electricity
| None | Fan Coil Heating And Cooling | Fan Coil Cooling Only | Boiler Baseboards Heating Only | PTAC Heating And Cooling
2015 | 97.46% | 0.3111% | 0.23% | 1.693% | 0.3111%
2035 | 95.94% | 0.4624% | 0.4718% | 2.665% | 0.4624%
HVAC System Shared Natural Gas | None | Fan Coil Heating And Cooling | Fan Coil Cooling Only | Boiler Baseboards Heating Only | PTAC Heating And Cooling
2015 | 84.93% | 0.89% | 0.1439% | 13.15% | 0.89%
2035 | 88.83% | 0.6589% | 0.0861% | 9.764% | 0.6589%
HVAC System Shared None | None | Fan Coil Heating And Cooling | Fan Coil Cooling Only | Boiler Baseboards Heating Only | PTAC Heating And Cooling
2015 | 0.9978 | 0 | 0.002198 | 0 | 0
2035 | 0.99857 | 0 | 0.001428 | 0 | 0

## Water Heating
| Gas Standard | Gas Tankless | Gas Premium | Gas Premium, Condensing | Electric Standard | Electric Tankless | Electric Premium | Electric Heat Pump, 50 gal | Propane Standard | Propane Tankless | FIXME Other Fuel
2015 | 87.28% | 4.75% | 0.6418% | 0% | 5.879% | 0.2943% | 0% | 0.731% | 0.1411% | 0.02283% | 0.2597%
2035 | 15% | 21.18% | 0.1118% | 32.03% | 0% | 0% | 0% | 31.49% | 0.02896% | 0.0606% | 0.09424%

## Clothes Dryer
Clothes Dryer.tsv | Gas, 80% Usage | Gas, 100% Usage | Gas, 120% Usage | Propane, 80% Usage | Propane, 100% Usage | Propane, 120% Usage | Electric, 80% Usage | Electric, 100% Usage | Electric, 120% Usage | Electric, Premium, 80% Usage | Electric, Premium, 100% Usage | Electric, Premium, 120% Usage | Electric, Premium, EnergyStar 80% Usage | Electric, Premium, EnergyStar 100% Usage | Electric, Premium, EnergyStar 120% Usage | Electric, Heat Pump, Ventless, 80% Usage | Electric, Heat Pump, Ventless, 100% Usage | Electric, Heat Pump, Ventless, 120% Usage | None
2015 | 0.10561 | 0.21122 | 0.10561 | 0.000193 | 0.000386 | 0.000193 | 0.050298 | 0.1006 | 0.050298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.37559
2035 | 0.058017 | 0.11603 | 0.058017 | 0.000116 | 0.000232 | 0.000116 | 0.025475 | 0.050951 | 0.025475 | 0 | 0 | 0 | 0.016768 | 0.033536 | 0.016768 | 0.067072 | 0.13414 | 0.067072 | 0.33021
diff | -0.047593 | -0.095186 | -0.047593 | -7.7e-05 | -0.000154 | -7.7e-05 | -0.024823 | -0.049646 | -0.024823 | 0 | 0 | 0 | 0.016768 | 0.033536 | 0.016768 | 0.067072 | 0.13414 | 0.067072 | -0.045384

## Cooking Range
Cooking Range | Gas, 80% Usage | Gas, 100% Usage | Gas, 120% Usage | Propane, 80% Usage | Propane, 100% Usage | Propane, 120% Usage | Electric, 80% Usage | Electric, 100% Usage | Electric, 120% Usage | None
2015 | 19.39% | 38.78% | 19.39% | 0.0549% | 0.1099% | 0.0549% | 4.818% | 9.636% | 4.818% | 2.941%
2035 | 0.097179 | 0.19436 | 0.097179 | 0.000235 | 0.00047 | 0.000235 | 0.14649 | 0.29298 | 0.14649 | 0.024385
diff | -9.674% | -19.35% | -9.674% | -0.0314% | -0.0629% | -0.0314% | 9.831% | 19.66% | 9.831% | -0.5025%

## Clothes Washer
Clothes Washer.tsv | None | Standard, 80% Usage | Standard, 100% Usage | Standard, 120% Usage | EnergyStar, 80% Usage | EnergyStar, 100% Usage | EnergyStar, 120% Usage | EnergyStar Most Efficient, 80% Usage | EnergyStar Most Efficient, 100% Usage | EnergyStar Most Efficient, 120% Usage
2015 | 22.62% | 6.771% | 13.54% | 6.771% | 12.57% | 25.15% | 12.57% | 0% | 0% | 0%
2035 | 19.32% | 1.275% | 2.55% | 1.275% | 2.367% | 4.735% | 2.367% | 16.53% | 33.06% | 16.53%

## Dish Washer
Dishwasher | None | 318 Rated kWh, 80% Usage | 318 Rated kWh, 100% Usage | 318 Rated kWh, 120% Usage | 290 Rated kWh, 80% Usage | 290 Rated kWh, 100% Usage | 290 Rated kWh, 120% Usage | 270 Rated kWh, 80% Usage | 270 Rated kWh, 100% Usage | 270 Rated kWh, 120% Usage | 255 Rated kWh, 80% Usage | 255 Rated kWh, 100% Usage | 255 Rated kWh, 120% Usage | 199 Rated kWh, 80% Usage | 199 Rated kWh, 100% Usage | 199 Rated kWh, 120% Usage
2015 | 51.7% | 4.3% | 8.7% | 4.3% | 7.7% | 15.5% | 7.7% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2035 | 42.9% | 1.4% | 2.9% | 1.4% | 2.6% | 5.1% | 2.6% | 0% | 0% | 0% | 0.5% | 1% | 0.5% | 9.8% | 19.5% | 9.8%

## Refrigerator
Refrigerator | EF 6.7, Bottom-mounted Freezer | EF 10.2, Bottom-mounted Freezer | EF 15.9, Bottom-mounted Freezer | EF 16.9, EnergyStar, Bottom-mounted Freezer | EF 19, EnergyStar Most Efficient, Bottom-mounted Freezer | EF 6.9, Top-mounted Freezer | EF 10.5, Top-mounted Freezer | EF 15.9, Top-mounted Freezer | EF 19, EnergyStar, Top-mounted Freezer | EF 23, EnergyStar Most Efficient, Top-mounted Freezer | EF 6.5, Side-mounted Freezer | EF 10.8, Side-mounted Freezer | EF 15.7, Side-mounted Freezer | EF 16.2, EnergyStar, Side-mounted Freezer | EF 18.2, EnergyStar Most Efficient, Side-mounted Freezer
2015 | 0.016% | 0.5452% | 2.591% | 5.366% | 1.601% | 0.5078% | 6.304% | 31.69% | 17.75% | 0% | 0.4312% | 3.529% | 1.246% | 8.54% | 19.88%
2035 | 0.0056% | 0.1918% | 0.9114% | 1.887% | 7.124% | 0% | 2.238% | 11.25% | 6.3% | 36.47% | 0.1517% | 1.241% | 0.4383% | 3.004% | 28.79%

## Misc Extra Refrigerator
Misc Extra Refrigerator | None | EF 6.7, Bottom-mounted Freezer | EF 10.2, Bottom-mounted Freezer | EF 15.9, Bottom-mounted Freezer | EF 16.9, EnergyStar, Bottom-mounted Freezer | EF 19, EnergyStar Most Efficient, Bottom-mounted Freezer | EF 6.9, Top-mounted Freezer | EF 10.5, Top-mounted Freezer | EF 15.9, Top-mounted Freezer | EF 19, EnergyStar, Top-mounted Freezer | EF 23, EnergyStar Most Efficient, Top-mounted Freezer | EF 6.5, Side-mounted Freezer | EF 10.8, Side-mounted Freezer | EF 15.7, Side-mounted Freezer | EF 16.2, EnergyStar, Side-mounted Freezer | EF 18.2, EnergyStar Most Efficient, Side-mounted Freezer
2015 | 87.45% | 0.005% | 0.0779% | 0.1381% | 0.2969% | 0.0703% | 0.1144% | 1.129% | 4.937% | 2.004% | 0% | 0.0492% | 0.5737% | 0.2068% | 1.095% | 1.848%
2035 | 88.06% | 0.0047% | 0.0732% | 0.1298% | 0.2807% | 0.0663% | 0.1075% | 1.072% | 4.728% | 1.921% | 0% | 0.0463% | 0.5388% | 0.1943% | 1.032% | 1.748%

## Envelope
Windows
| Clear, Single, Metal | Clear, Double, Metal, Air | Clear, Single, Non-metal | Clear, Double, Non-metal, Air | Low-E, Double, Low-Gain | Low-E, Double, Non-metal, Air, L-Gain | Low-E, Double, EnergyStar Ver6 South-Central
2015 | 32.4% | 11.33% | 36.79% | 19.48% | 0% | 0% | 0%
2035 | 18.11% | 10.06% | 17.87% | 11.83% | 0% | 0% | 42.13%
Infiltration | 1 ACH50 LA | 2 ACH50 LA | 3 ACH50 LA | 4 ACH50 LA | 5 ACH50 LA | 6 ACH50 LA | 7 ACH50 LA | 8 ACH50 LA | 9 ACH50 LA | 10 ACH50 LA | 12 ACH50 LA | 14 ACH50 LA | 16 ACH50 LA | 18 ACH50 LA | 20 ACH50 LA | 25 ACH50 LA | 30 ACH50 LA | 35 ACH50 LA | 40 ACH50 LA | 45 ACH50 LA | 50 ACH50 LA | 55 ACH50 LA
2015 | 6.625e-08% | 0.0027% | 0.0748% | 0.3358% | 0.8137% | 1.442% | 2.207% | 3.124% | 4.13% | 5.118% | 12.6% | 14.06% | 13.45% | 11.5% | 9.105% | 13.65% | 5.494% | 1.946% | 0.6416% | 0.2066% | 0.0671% | 0.0343%
2035 | 4.512e-07% | 0.0259% | 0.603% | 1.967% | 3.534% | 4.561% | 4.868% | 4.886% | 4.962% | 5.183% | 11.24% | 11.8% | 11.12% | 9.487% | 7.52% | 11.3% | 4.554% | 1.61% | 0.5294% | 0.1699% | 0.055% | 0.028%
Insulation Crawlspace | Uninsulated, Vented | Wall R-5, Unvented | Wall R-10, Unvented | Ceiling R-13, Vented | Ceiling R-19, Vented | None
2015 | 17.29% | 0% | 0.2395% | 0.1446% | 2.33% | 80%
2035 | 12.39% | 0% | 0.4457% | 0.3853% | 6.779% | 80%
Insulation Finished Basement | Uninsulated | Wall R-5 | Wall R-10 | Wall R-15 | None
2015 | 1.321% | 0.0112% | 0.0972% | 0.0302% | 98.54%
2035 | 1.073% | 0.0078% | 0.1715% | 0.1145% | 98.63%
Insulation Interzonal Floor | Uninsulated | R-13 | R-19 | R-30 | R-38
2015 | 0.87244 | 0.027035 | 0.10052 | 0 | 0
2035 | 0.71529 | 0.020055 | 0.26465 | 0 | 0
Insulation Unfinished Attic | Uninsulated, Vented | Ceiling R-7, Vented | Ceiling R-13, Vented | Ceiling R-19, Vented | Ceiling R-30, Vented | Ceiling R-38, Vented | Ceiling R-49, Vented
2015 | 11.12% | 13.37% | 24.96% | 15.55% | 27.8% | 6.971% | 0.2299%
2035 | 5.266% | 6.33% | 11.77% | 10.61% | 24.21% | 10.6% | 31.21%
Insulation Unfinished Basement | Uninsulated | Ceiling R-13 | Ceiling R-19 | None
2015 | 9.269% | 0.4148% | 0.8478% | 89.46%
2035 | 4.96% | 1.105% | 4.562% | 89.37%
Insulation Wall | Wood Stud, Uninsulated | Wood Stud, R-7 | Wood Stud, R-11 | Wood Stud, R-15 | Wood Stud, R-19
2015 | 80.2% | 4.369% | 11.41% | 0.3143% | 3.706%
2035 | 38.17% | 3.082% | 9.422% | 0.3302% | 49%

## Misc
Lighting | CA 100% LED, 05 %ile | CA 100% LED, 15 %ile | CA 100% LED, 25 %ile | CA 100% LED, 35 %ile | CA 100% LED, 45 %ile | CA 100% LED, 55 %ile | CA 100% LED, 65 %ile | CA 100% LED, 75 %ile | CA 100% LED, 85 %ile | CA 100% LED, 95 %ile | CA 100% CFL, 05 %ile | CA 100% CFL, 15 %ile | CA 100% CFL, 25 %ile | CA 100% CFL, 35 %ile | CA 100% CFL, 45 %ile | CA 100% CFL, 55 %ile | CA 100% CFL, 65 %ile | CA 100% CFL, 75 %ile | CA 100% CFL, 85 %ile | CA 100% CFL, 95 %ile | CA 100% Incandescent, 05 %ile | CA 100% Incandescent, 15 %ile | CA 100% Incandescent, 25 %ile | CA 100% Incandescent, 35 %ile | CA 100% Incandescent, 45 %ile | CA 100% Incandescent, 55 %ile | CA 100% Incandescent, 65 %ile | CA 100% Incandescent, 75 %ile | CA 100% Incandescent, 85 %ile | CA 100% Incandescent, 95 %ile
2015 | 0.72% | 0.28% | 1.07% | 1.84% | 1.49% | 0.67% | 0.18% | 0.03% | 0% | 0% | 6.06% | 2.37% | 8.94% | 15.4% | 12.49% | 5.58% | 1.54% | 0.29% | 0.04% | 0.04% | 4.71% | 1.84% | 6.96% | 11.98% | 9.72% | 4.34% | 1.2% | 0.22% | 0.03% | 0.03%
2035 | 11.41% | 4.436% | 16.95% | 29.15% | 23.6% | 10.61% | 2.852% | 0.4753% | 0% | 0% | 0.05199% | 0.02033% | 0.0767% | 0.1321% | 0.1072% | 0.04787% | 0.01321% | 0.002488% | 0.0003432% | 0.0003432% | 0.007078% | 0.002765% | 0.01046% | 0.018% | 0.01461% | 0.006522% | 0.001803% | 0.0003306% | 4.508e-05% | 4.508e-05%
Misc Pool Pump | None | Low Efficiency CA | High Efficiency Single Speed CA | High Efficiency Dual or Variable Speed CA
2015 | 93.32% | 0.6681% | 4.836% | 1.177%
2035 | 92.96% | 0.0881% | 0.6374% | 6.319%
Plug Loads | CA 1 bed, 05 %ile | CA 1 bed, 15 %ile | CA 1 bed, 25 %ile | CA 1 bed, 35 %ile | CA 1 bed, 45 %ile | CA 1 bed, 55 %ile | CA 1 bed, 65 %ile | CA 1 bed, 75 %ile | CA 1 bed, 85 %ile | CA 1 bed, 95 %ile | CA 2 bed, 05 %ile | CA 2 bed, 15 %ile | CA 2 bed, 25 %ile | CA 2 bed, 35 %ile | CA 2 bed, 45 %ile | CA 2 bed, 55 %ile | CA 2 bed, 65 %ile | CA 2 bed, 75 %ile | CA 2 bed, 85 %ile | CA 2 bed, 95 %ile | CA 3 bed, 05 %ile | CA 3 bed, 15 %ile | CA 3 bed, 25 %ile | CA 3 bed, 35 %ile | CA 3 bed, 45 %ile | CA 3 bed, 55 %ile | CA 3 bed, 65 %ile | CA 3 bed, 75 %ile | CA 3 bed, 85 %ile | CA 3 bed, 95 %ile | CA 4 bed, 05 %ile | CA 4 bed, 15 %ile | CA 4 bed, 25 %ile | CA 4 bed, 35 %ile | CA 4 bed, 45 %ile | CA 4 bed, 55 %ile | CA 4 bed, 65 %ile | CA 4 bed, 75 %ile | CA 4 bed, 85 %ile | CA 4 bed, 95 %ile | CA 5 bed, 05 %ile | CA 5 bed, 15 %ile | CA 5 bed, 25 %ile | CA 5 bed, 35 %ile | CA 5 bed, 45 %ile | CA 5 bed, 55 %ile | CA 5 bed, 65 %ile | CA 5 bed, 75 %ile | CA 5 bed, 85 %ile | CA 5 bed, 95 %ile | CA 6 bed, 05 %ile | CA 6 bed, 15 %ile | CA 6 bed, 25 %ile | CA 6 bed, 35 %ile | CA 6 bed, 45 %ile | CA 6 bed, 55 %ile | CA 6 bed, 65 %ile | CA 6 bed, 75 %ile | CA 6 bed, 85 %ile | CA 6 bed, 95 %ile | CA 7 bed, 05 %ile | CA 7 bed, 15 %ile | CA 7 bed, 25 %ile | CA 7 bed, 35 %ile | CA 7 bed, 45 %ile | CA 7 bed, 55 %ile | CA 7 bed, 65 %ile | CA 7 bed, 75 %ile | CA 7 bed, 85 %ile | CA 7 bed, 95 %ile
2015 | 38.92% | 3.393% | 0.4429% | 0.1079% | 0.03662% | 0.01524% | 0.007298% | 0.003864% | 0.002189% | 0.002189% | 0.1122% | 2.273% | 9.651% | 14.24% | 9.879% | 3.938% | 1.036% | 0.1986% | 0.02982% | 0.02982% | 0.03414% | 0.6917% | 2.937% | 4.334% | 3.007% | 1.198% | 0.3153% | 0.06045% | 0.009076% | 0.009076% | 0.003054% | 0.06539% | 0.3764% | 0.7838% | 0.7271% | 0.3511% | 0.09963% | 0.0183% | 0.002352% | 0.002352% | 0.0005871% | 0.01259% | 0.07201% | 0.1485% | 0.1365% | 0.06539% | 0.01848% | 0.003396% | 0.0004383% | 0.0004383% | 0.0001465% | 0.003152% | 0.0176% | 0.03513% | 0.03127% | 0.01463% | 0.004085% | 0.0007518% | 9.875e-05% | 9.875e-05% | 0.0001119% | 0.00239% | 0.01409% | 0.03029% | 0.02893% | 0.01427% | 0.004091% | 0.0007497% | 9.485e-05% | 9.485e-05%
2035 | 39.06% | 3.405% | 0.4445% | 0.1083% | 0.03675% | 0.0153% | 0.007325% | 0.003878% | 0.002198% | 0.002198% | 0.1069% | 2.166% | 9.199% | 13.57% | 9.417% | 3.753% | 0.9875% | 0.1893% | 0.02843% | 0.02843% | 0.03611% | 0.7316% | 3.107% | 4.584% | 3.18% | 1.267% | 0.3335% | 0.06393% | 0.009599% | 0.009599% | 0.003927% | 0.08409% | 0.484% | 1.008% | 0.9351% | 0.4515% | 0.1281% | 0.02354% | 0.003025% | 0.003025% | 0.0008596% | 0.01844% | 0.1054% | 0.2175% | 0.1998% | 0.09574% | 0.02706% | 0.004972% | 0.0006417% | 0.0006417% | 0.000238% | 0.00512% | 0.02859% | 0.05707% | 0.0508% | 0.02377% | 0.006636% | 0.001221% | 0.0001604% | 0.0001604% | 0.0002035% | 0.004348% | 0.02564% | 0.05512% | 0.05264% | 0.02596% | 0.007443% | 0.001364% | 0.0001726% | 0.0001726%